## By Number
Code Development for 2012 International Green Construction Code (IGCC)
Proposal Item No. | Proponent | Proposal | IGCC Code Section | Suggested Action | Solar ABCs Comment | IGCC Committee Action | Floor Action | Final Action
GEW39 | APGA and NPGA | calculation of energy use (zEPI determination) | 603.1.1.1
GEW47 | APGA and Gas Technology Institute | calculation of energy use (zEPI determination) | 603.1.1.1
GEW220 | U.S. DOE | rough-ins for future PV systems | 609.12
GEW242 | Armstrong World Industries | distribution and use of renewable energy | 611.1
GEW243 | New Buildings Institute and Dow Chemical | installation requirements for PV | 202, 303.2, 611
GEW244 | Target | when to install renewable energy | 611.1, 611.5
GEW246 | SEIA | installation requirements and definitions for PV | 202, 303.2, 611
GEW247 | City of Seattle | relocates PV requirement from under wind energy to under PV | 611
GEW248 | Davidson Code Concepts | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611
GEW249 | U.S. DOE | raises PV from minimum 2% to 5% of the energy for the building | 611.2
GEW250 | City of Seattle | relocates PV requirement from under wind energy to under PV | 611
GEW251 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.2
GEW252 | Chicago Roofing Contractors Association | rely on requirements in IBC and IFC | 611.2
GEW253 | National Association of State Fire Marshals (NASFM) | add reference to IFC | 611.2.1
GEW254 | City of Seattle | remove loading requirements, add IFC | 611.2.1
GEW255 | Asphalt Roofing Manufacturers Association (ARMA) | reference IBC for structural loads | 611.2.1.1
GEW256 | National Roofing Contractors Association | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.2.1.1
GEW257 | National Roofing Contractors Association | remove PV resource map | Fig. 611.4
GEW258 | Davidson Code Concepts | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.3
GEW260 | Chicago Roofing Contractors Association | reference to PV installation instructions | 611.3
GEW261 | UL | remove reuqirements in IBC | 611.3.1.2
GEW262 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.3.1.3
GEW263 | Leviton Manufacturing | relocates PV requirement from under wind energy to under PV
GEW264 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC
GEW265 | Leviton Manufacturing | relocates PV requirement from under wind energy to under PV
GEW266 | EEI | changes to solar water heating requirements | 611.4
GEW270 | National Apartment Association | makes PV an elective, not a mandatory requirement in all buildings
GEW271 | National Association of Home Builders | makes PV an elective, not a mandatory requirement in all buildings
GG34 | Craig Conner (Building Quality) | relocating requirements
GG113 | U.S. DOE | change in PV definitions | 202
GG284 | NCI Building Systems | shading structures
GG286 | UL | requirements to keep trees from shading PV panels | 404.2.3
GG291 | City of Seattle | roof coverings
GG292 | National Roofing Contractors Association | roof coverings
GG293 | City of Scottsdale, AZ | roof coverings
GG294 | National Roofing Contractors Association | roof coverings
GG295 | U.S. DOE | roof coverings
GG296 | National Roofing Contractors Association | roof coverings
GG297 | Chicago Roofing Contractors Association | roof coverings
GG306 | Asphalt Roofing Manufacturers Association (ARMA) | roof coverings

## By Topic
Code Development for 2012 International Green Construction Code (IGCC)
Proposal Item No. | Proponent | Proposal | IGCC Code Section | Suggested Action | Solar ABCs Comment | IGCC Committee Action | Floor Action | Final Action
Fixes Mistake
GEW247 | City of Seattle | relocates PV requirement from under wind energy to under PV | 611
GEW250 | City of Seattle | relocates PV requirement from under wind energy to under PV | 611
GEW263 | Leviton Manufacturing | relocates PV requirement from under wind energy to under PV
GEW265 | Leviton Manufacturing | relocates PV requirement from under wind energy to under PV
Remove requirements already in IBC, IFC, IRC, NFPA 70
GEW248 | Davidson Code Concepts | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611
GEW251 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.2
GEW252 | Chicago Roofing Contractors Association | rely on requirements in IBC and IFC | 611.2
GEW254 | City of Seattle | remove loading requirements, add IFC | 611.2.1
GEW255 | Asphalt Roofing Manufacturers Association (ARMA) | reference IBC for structural loads | 611.2.1.1
GEW256 | National Roofing Contractors Association | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.2.1.1
GEW258 | Davidson Code Concepts | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.3
GEW261 | UL | remove reuqirements in IBC | 611.3.1.2
GEW262 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC | 611.3.1.3
GEW264 | UL | remove installation requirements and refer instead to NFPA 70, IBC, and IFC
GEW253 | National Association of State Fire Marshals (NASFM) | add reference to IFC | 611.2.1
GEW39 | APGA and NPGA | calculation of energy use (zEPI determination) | 603.1.1.1
GEW47 | APGA and Gas Technology Institute | calculation of energy use (zEPI determination) | 603.1.1.1
GEW220 | U.S. DOE | rough-ins for future PV systems | 609.12
GEW242 | Armstrong World Industries | distribution and use of renewable energy | 611.1
GEW243 | New Buildings Institute and Dow Chemical | installation requirements for PV | 202, 303.2, 611
GEW244 | Target | when to install renewable energy | 611.1, 611.5
GEW246 | SEIA | installation requirements and definitions for PV | 202, 303.2, 611
GEW247 | City of Seattle | relocates PV requirement from under wind energy to under PV | 611
GEW249 | U.S. DOE | raises PV from minimum 2% to 5% of the energy for the building | 611.2
GEW257 | National Roofing Contractors Association | remove PV resource map | Fig. 611.4
GEW260 | Chicago Roofing Contractors Association | reference to PV installation instructions | 611.3
GEW266 | EEI | changes to solar water heating requirements | 611.4
GEW270 | National Apartment Association | makes PV an elective, not a mandatory requirement in all buildings
GEW271 | National Association of Home Builders | makes PV an elective, not a mandatory requirement in all buildings
GG34 | Craig Conner (Building Quality) | relocating requirements
GG113 | U.S. DOE | change in PV definitions | 202
GG284 | NCI Building Systems | shading structures
GG286 | UL | requirements to keep trees from shading PV panels | 404.2.3
GG291 | City of Seattle | roof coverings
GG292 | National Roofing Contractors Association | roof coverings
GG293 | City of Scottsdale, AZ | roof coverings
GG294 | National Roofing Contractors Association | roof coverings
GG295 | U.S. DOE | roof coverings
GG296 | National Roofing Contractors Association | roof coverings
GG297 | Chicago Roofing Contractors Association | roof coverings
GG306 | Asphalt Roofing Manufacturers Association (ARMA) | roof coverings